Feasibility Study of AI-Assisted Heating Optimization in Municipal Buildings

A descriptive title that says what the project will be about. The title can be changed during the project

Company

| Company | Trollhättan Stad |
| --- | --- |
| Contact person | 1a - Fastighetschef Peter Versén 2a - IT Strateg Erik Beckius |
| Email | peter.versen@kraftstaden.se erik.beckius@kraftstaden.se |
| Phone |  |
| Homepage |  |

| Name |  |
| --- | --- |
| Email |  |
| Phone |  |

Students (filled in if there is a student who is intended for the project if not the project will be published for the students)

Background

Municipalities face increasing energy costs and sustainability targets while managing large portfolios of aging buildings. Many buildings operate using fixed heating schedules that do not account for variations in occupancy, weather conditions, or building thermal behavior. Recent advances in AI-based forecasting and decision-support tools offer opportunities to optimize heating operation without major investments in new building management systems. However, before investing in such solutions, municipalities need to understand the technical feasibility, expected energy savings, implementation costs, and organizational implications.

Description

This project investigates whether AI-assisted heating optimization could be a viable and cost-effective solution for municipal buildings. The project will function as a pre-study (förstudie) by: - Mapping current heating control practices. - Investigating available cost efficient AI tools and platforms. - Evaluating how occupancy schedules and weather forecasts can be used to optimize heating. - Assessing implementation requirements and risks. - Developing a small proof-of-concept demonstrating the concept. The above points are to be investigated in relation to opensource software and cheap available sensors that can be ad hoc installed in buildings. Rather than implementing a complete control system, the focus is on providing decision support for future municipal investment decisions. The project follows the Engineering Design Process, including problem analysis, requirement identification, concept generation, evaluation, and feasibility assessment.

Aim/goals

Analyze Current Practice - Investigate how heating is currently controlled in municipal buildings. - Identify common causes of unnecessary energy consumption. - Map available data sources and existing building systems. Evaluate AI-Based Heating Optimization - Investigate commercially available AI and analytics tools. - Assess how weather forecasts and occupancy schedules can support heating decisions. - Identify technical requirements for implementation in older buildings. Conduct a Feasibility Assessment Evaluate Expected energy savings, Investment costs Scalability and Integration complexity. Demonstrate a Proof of Concept Develop a simple prototype or simulation showing how heating schedules could be optimized using: Weather forecasts, Building schedules and Historical temperature data

Grading Tip:  To write a good report that links your project to the methodology, each section of the report needs to answer one or several questions at each section.

Here is an example:

| Section | Key Question |
| --- | --- |
| Problem Definition | What problem are we solving? |
| Requirements | How do we know success? |
| Concept Generation | What alternatives exist? |
| Concept Selection | Why did we choose this solution? |
| Detailed Design | How does it work? |
| Testing | Does it meet requirements? |
| Reflection | What did we learn? |